Inspection Date:

01/19/11

Prepared For:

test

Prepared By:

Get The Facts Home Inspection

P.O. Box 6118

Brandon, Fl. 33508

813-785-4620

Fax

Joe@GetTheFactsHomeINspection.com

Report Number:

Inspector:

test

© 2011 Get The Facts Home Inspection

# TABLE OF CONTENTS

Report OVERVIEW	3

Receipt/Invoice	4

Grounds	5

Roof	6

Exterior	7

Electrical/AC-HEAT PUMP	8

Garage	9

Kitchen/Laundry ROOM	10

Bathrooms	11

Rooms	13

Interior	16

Basement	17

Crawl SPACE	18

Plumbing	19

Heating SYSTEM	20

Electric/Cooling SYSTEM	21

Summary	22

# Report Overview

## THE HOUSE IN PERSPECTIVE

## CONVENTIONS USED IN THIS REPORT

SATISFACTORY - Indicates the component is functionally consistent with its original purpose but may show signs of normal wear and tear and deterioration.

MARGINAL - Indicates the component will probably require repair or replacement anytime within five years.

POOR - Indicates the component will need repair or replacement now or in the very near future.

MAJOR CONCERNS - A system or component that is considered significantly deficient or is unsafe.

SAFETY HAZARD - Denotes a condition that is unsafe and in need of prompt attention.

## THE SCOPE OF THE INSPECTION

All components designated for inspection in the ASHI( Standards of Practice are inspected, except as may be noted in the “Limitations of Inspection” sections within this report.

It is the goal of the inspection to put a home buyer in a better position to make a buying decision.  Not all improvements will be identified during this inspection.  Unexpected repairs should still be anticipated.  The inspection should not be considered a guarantee or warranty of any kind.

Please refer to the pre-inspection contract for a full explanation of the scope of the inspection.

## Building Data

Approximate Age:

Style:

Main Entrance Faces:

State of Occupancy:

Weather Conditions:

Recent Rain:

Ground cover:

# RECEIPT / INVOICE

Get The Facts Home Inspection

P.O. Box 6118

Brandon, Fl. 33508

813-785-4620

Date: 01/19/11	Inspection Number:

Name: test

| Inspection: | Error! AutoText entry not defined. |
| --- | --- |
| Other** |  |
| Total: |  |

Check #:

Cash

Credit Card:

**	 Radon	 Pool / Hot Tub	 Shipping	 Well & Septic	 WDO/WDI

Inspected By: test

License/Certification #:

| Service Walks | None Public sidewalk needs repair |
| --- | --- |

Material:	 Concrete	 Flagstone	 Gravel 	 Brick	 Other

Condition:	 Satisfactory	 Marginal	 Poor	 Trip Hazard

Pitched towards home	 Settling cracks	 Not visible	 Typical cracks

| Driveway/parking | None |
| --- | --- |

Material:	 Concrete	 Asphalt	 Gravel/Dirt 	 Brick	 Other

Condition:	 Satisfactory	 Marginal	 Poor	 Fill cracks and seal

Pitched towards home	 Trip hazard	 Settling Cracks	 Typical crack

| Porch (covered entrance) | None |
| --- | --- |

Support Pier:	 Concrete	 Wood	 Not visible	 Other

Condition:	 Satisfactory	 Marginal	 Poor	 Railing/Balusters recommended

Floor:	 Satisfactory	 Marginal	 Poor	 Safety Hazard

| Stoops/Steps | None one Uneven risers Uneven risers |
| --- | --- |

Material:	 Concrete	 Wood	 Other	 Railing/Balusters recommended

Condition: 	 Satisfactory	 Marginal	 Poor	 Cracked	 Settled

Rotted/Damaged		 Safety Hazard

| Patio | None |
| --- | --- |

Material:	 Concrete 	 Flagstone	 Kool-Deck®	 Brick	 Trip hazard

Condition:	 Satisfactory	 Marginal	 Poor	 Settling Cracks

Pitched towards home (See remarks page)	 Drainage provided	 Typical cracks

| Deck/Balcony (flat, floored, roofless area) | None |
| --- | --- |

Material:	 Wood	 Metal	 Composite	 Not visible	 Railing/Balusters recommended

Finish:	 Treated 	 Painted/Stained	 Other

Improper attachment to house 	 Railing loose

Condition:	 Satisfactory	 Marginal	 Poor	 Wood in contact with soil

| Deck/Patio/Porch Covers | None Earth to wood contact Moisture/Insect damage |
| --- | --- |

Condition:	 Satisfactory	 Marginal	 Poor	 Posts/Supports need Repair

Recommend:	 Metal Straps/Bolts/Nails/Flashing	 Improper attachment to house

| Fence/Wall | Not evaluated None |
| --- | --- |

Type:	 Brick/Block	 Wood	 Metal	 Chain Link	 Rusted	 Other

Condition:	 Satisfactory	 Marginal	 Poor	 Loose Blocks/Caps	 Typical cracks

Gate:	 N/A	 Satisfactory	 Marginal	 Poor	 Planks missing/damaged

| Landscaping Affecting Foundation | (See remarks page) |
| --- | --- |

Negative Grade:	 East	 West	 North	 South	 Satisfactory

Recommend additional backfill	 Recommend window wells/covers	 Trim back trees/shrubberies

Wood in contact with/improper clearance to soil	 Yard drains observed - not tested

| Retaining Wall | None Material: Drainage holes recommended |
| --- | --- |

Condition:	 Satisfactory	 Marginal	 Poor	 Safety Hazard	 Leaning/cracked/bowed

(Relates to the visual condition of the wall)

| Hose Bibs | None No anti-siphon valve |
| --- | --- |

Operates:	 Yes	 No	 Not tested	 Not on

| General Comments |  |
| --- | --- |

| Roof Visibility | All Partial None Limited by: |
| --- | --- |

| Inspected From | Roof Ladder at eaves Ground (Inspection Limited) With Binoculars |
| --- | --- |

| Style of Roof |  |
| --- | --- |

Type:	 Gable	 Hip	 Mansard	 Shed	 Flat	 Other

Pitch:	 Low	 Medium	 Steep	 Flat

| Roof Covering |  |
| --- | --- |

Roof #1:	Type:     Estimated Layers:     Approximate age of cover:  years

Roof #2:	Type:     Estimated Layers:     Approximate age of cover:  years

Roof #3:	Type:     Estimated Layers:     Approximate age of cover:  years

| Ventilation System | Type: Soffit Ridge Gable Roof |
| --- | --- |

Appears Adequate: 	 Yes	 No	 Turbine	 Powered	 Other

(See Interior remarks page) (See Attic section)

| Flashing | Material: Galv/Alum Asphalt Not visible Rubber |
| --- | --- |

Copper	 Foam	 Other	 Lead

Condition:	 Not visible	 Satisfactory	 Marginal	 Poor	 Rusted

Separated from chimney/roof	 Recommend Sealing		 Other

| Valleys | N/A Material: Galv/Alum Asphalt Lead Copper |
| --- | --- |

Not visible	 Other

Condition:	 Not visible	 Satisfactory	 Marginal	 Poor

Rusted	 Holes	 Recommend Sealing

| Condition of Roof Coverings | Roof #1: Satisfactory Marginal Poor |
| --- | --- |
|  | Roof #2: Satisfactory Marginal Poor |
|  | Roof #3: Satisfactory Marginal Poor |

Condition:	 Curling	 Cracking	 Ponding	 Burn Spots 	 Broken/Loose Tiles/Shingles

Nail popping	 Granules missing	 Alligatoring	 Blistering	 Missing Tabs/Shingles/Tiles

Moss buildup	 Exposed felt 	 Cupping	 Incomplete/Improper Nailing

| Skylights | N/A Cracked/Broken Not visible |
| --- | --- |

Condition:	 Satisfactory	 Marginal	 Poor

| Plumbing Vents | Yes No Satisfactory Marginal Poor |
| --- | --- |

Recommend roofer evaluate	 Not Visible

Conditions reported above reflect visible portion only

| General Comments |  |
| --- | --- |

| Chimney(s) | None Location(s): |
| --- | --- |

Viewed From:	 Roof	 Ladder at eaves	 Ground with binoculars

Rain Cap/Spark Arrestor:	 Yes	 No	 Recommended

Chase:	 Brick	 Stone	 Metal	 Blocks 	 Framed

Evidence of: 	 Holes in metal	 Cracked chimney cap	 Loose mortar joints	 Flaking	 Loose Brick	 Rust

Flue:	 Tile	 Metal	 Unlined	 Not visible

Evidence of: 	 Scaling	 Cracks	 Creosote	 Not evaluated  (See remarks page)

Have flue(s) cleaned and re-evaluated	 Recommend Cricket/Saddle/Flashing

Condition:	 Satisfactory	 Marginal	 Poor

| Gutters/Scuppers/EaveStrough | None Needs to be cleaned Downspouts needed |
| --- | --- |

Material:	 Copper	 Vinyl/Plastic	 Galvanized/Aluminum	 Other

Condition:	 Satisfactory	 Marginal	 Poor	 Rusting

Leaking:	 Corners	 Joints	 Hole in main run

Attachment:	 Loose	 Missing spikes	 Improperly sloped   (See remarks page)

Extension needed:	 North	 South	 East	 West

| Siding | (*See remarks page EIFS) |
| --- | --- |

Material:	 Stone	 Slate	 Block/Brick	 Fiberboard	 Fiber-cement	 Stucco

EIFS*	 Asphalt	 Wood	 Metal/Vinyl	 Other

Typical cracks	 Monitor	 Wood rot	 Peeling paint	 Loose/Missing/Holes

Condition:	 Satisfactory	 Marginal	 Poor	 Recommend repair/painting

| Trim, Soffit, Fascia, Flashing |  |
| --- | --- |

Material:	 Wood	 Fiberboard	 Aluminum/Steel	 Fiber Cement	 Stucco

Recommend repair/painting	 Damaged wood	 Other

Condition:	 Satisfactory	 Marginal	 Poor

| Caulking |  |
| --- | --- |

Condition:	 Satisfactory	 Marginal	 Poor

Recommend around windows/doors/masonry ledges/corners/utility penetrations

| Windows & Screens | Failed/fogged insulated glass |
| --- | --- |

Material:	 Wood	 Metal	 Vinyl	 Aluminum/Vinyl Clad

Screens:	 Torn	 Bent	 Not installed	 Glazing/caulk needed

Condition:	 Satisfactory	 Marginal	 Poor	 Wood rot	 Recommend repair/painting

| Storms Windows | None Not installed Wood Clad comb. Wood/metal comb. |
| --- | --- |

Putty:	 Satisfactory	 Glazing/caulk needed	 N/A

Condition:	 Satisfactory	 Broken/cracked	 Wood rot	 Recommend repair/painting

| Slab-on-Grade/Foundation | N/A (See Basement/Crawl Space) |
| --- | --- |

Stem Wall:	 Concrete block	 Poured concrete	 Other

Condition:	 Satisfactory	 Marginal	 Poor	 Not visible

Slab:	 Post tensioned	 Poured concrete	 Other

Condition:	 Satisfactory	 Marginal	 Poor	(See comments page)

| General Comments |  |
| --- | --- |

| Service Entry |  |
| --- | --- |

Underground	 Overhead	 Weather head/mast needs repair	Condition:	 Sat.	 Marginal	 Poor

Exterior outlets:	 Yes	 No	Operative:	 Yes	 No	 Overhead wires too low

GFCI present:	 Yes	 No	Operative:	 Yes	 No	 Less than 3’ from balcony/deck/windows

Reverse polarity	 Open ground	 Safety Hazard

| Building(s) Exterior Wall Construction |  |
| --- | --- |

Type:	 Not visible	 Framed	 Masonry	 Other

Condition:	 Satisfactory	 Marginal	 Poor	 Not visible

| Exterior Doors | Patio Storm Entrance |
| --- | --- |

Weatherstripping:	 Satisfactory	 Marginal	 Poor	 Missing	 Replace

Door Condition:	 Satisfactory	 Marginal	 Poor

| Exterior A/C - Heat Pump |  |
| --- | --- |

UNIT #1: 	 N/A	Location:

Brand: 		Model #: 	Approximate age:  yrs.

Outside Disconnect:	 Yes	 No	Maximum fuse/breaker rating: ??? Amp	Fuses/breakers installed: ??? Amp

Level:	 Yes	 No	 Cabinet/housing rusted	 Improperly sized fuses/breakers

Condenser Fins:	 Damaged	 Need cleaning	 Damaged base/pad

Condition:	 Satisfactory	 Marginal	 Poor

UNIT #2: 	 N/A	Location:

Brand: 		Model #: 	Approximate age:  yrs.

Outside Disconnect:	 Yes	 No	Maximum fuse/breaker rating: ??? Amp	Fuses/breakers installed: ??? Amp

Level:	 Yes	 No	 Cabinet/housing rusted	 Improperly sized fuses/breakers

Condenser Fins:	 Damaged	 Need cleaning	 Damaged base/pad

Condition:	 Satisfactory	 Marginal	 Poor

| General Comments |  |
| --- | --- |

| Type | None |
| --- | --- |

Attached	 Detached	 1-car	 2-car	 3-car	 4-car

| Automatic Opener |  |
| --- | --- |

Yes	 No	 Operable	 Inoperable	 Remote not available

| Safety Reverse |  |
| --- | --- |

Operable:	 Pressure reverse	 Electric eye	 Need(s) adjusting	 Safety hazard

| Roofing |  |
| --- | --- |

Material:	 Same as house	Type: 	Approx. Age: 	Approx. layers:

| Gutters / Eavestrough | None |
| --- | --- |

Condition:	 Satisfactory	 Marginal	 Poor

| Siding / Trim |  |
| --- | --- |

Siding:	 Same as house	 Wood	 Metal	 Vinyl

Stucco	 Masonry	 Slate	 Fiberboard

Trim:	 Same as house	 Wood	 Aluminum	 Vinyl

| Floor |  |
| --- | --- |

Material:	 Concrete	 Gravel	 Asphalt	 Dirt	 Other

Condition:	 Satisfactory	 Typical cracks	 Large settling cracks	 Recommend evaluation/repair

Burners less than 18” above garage floor: 	 N/A	 Yes	 No	 Safety hazard

| Sill Plates |  |
| --- | --- |

Not visible	 Floor level	 Elevated	 Rotted/Damaged 	 Recommend repair

| Overhead Door(s) | N/A |
| --- | --- |

Material:	 Wood	 Fiberglass	 Masonite	 Metal	 Recommend repair

Condition:	 Satisfactory	 Marginal	 Poor	 Overhead door hardware loose

Recommend Priming/Painting Inside & Edges:   Yes	 No	 Recommend lubrication	 Weatherstripping missing/damaged

| Exterior Service Door | None |
| --- | --- |

Condition:	 Satisfactory	 Marginal	 Poor	 Damaged/Rusted

| Electricity Present | Yes No Not visible |
| --- | --- |

Reverse polarity:	 Yes	 No	Open ground:	 Yes	 No  	 Safety hazard

GFCI Present:	 Yes	 No	Operates:	 Yes	 No	 Handyman/extension cord wiring

| Fire Separation Walls & Ceiling | (Between garage & living area) |
| --- | --- |

N/A	 Present	 Missing

Condition:	 Satisfactory	 Safety hazard(s)	 Recommend repair  	 Holes walls/ceiling

Fire door:	 Not verifiable	 Not a fire door	 Needs repair	 Satisfactory

N/A	 Satisfactory	 Inoperative	 Missing	 Needs repair

Moisture Stains Present:	 Yes	 No	Typical Cracks:	 Yes	 No

| General Comments |  |
| --- | --- |

| Countertops | Satisfactory Marginal Recommend repair/caulking |
| --- | --- |

| Cabinets | Satisfactory Marginal Recommend repair/adjustment |
| --- | --- |

| Plumbing Comments |  |
| --- | --- |

Faucet Leaks:	 Yes	 No	Pipes leak/corroded:	 Yes	 No

Sink/Faucet:	 Satisfactory	 Corroded	 Chipped	 Cracked	 Recommend repair

Functional Drainage:	 Adequate	 Poor	Functional Flow:	 Adequate	 Poor

| Walls & Ceiling |  |
| --- | --- |

Condition:	 Satisfactory	 Marginal	 Poor	 Typical cracks	 Moisture stains

| Heating / Cooling Source | Yes No |
| --- | --- |

| Floor |  |
| --- | --- |

Condition: 	 Satisfactory	 Marginal	 Poor	 Sloping	 Squeaks

| Appliances | (See remarks page) |
| --- | --- |

Disposal	Operates:	 Yes	 No	 Trash compactor 	Operates:	 Yes	 No

Oven	Operates:	 Yes	 No	 Exhaust fan	Operates:	 Yes	 No

Range	Operates:	 Yes	 No	 Refrigerator	Operates:	 Yes	 No

Dishwasher	Operates:	 Yes	 No	 Microwave	Operates:	 Yes	 No

Other	Operates:	 Yes	 No

Dishwasher Airgap:	 Yes	 No	Dishwasher Drain Line Looped:	 Yes	 No

Outlets Present:	 Yes	 No	Operable:	 Yes	 No

G.F.C.I.:	 Yes	 No	Operable:	 Yes	 No

Open ground/Reverse polarity within 6’ of water:	 Yes	 No	 Potential safety hazard(s)

| General Comments |  |
| --- | --- |

# LAUNDRY ROOM

| Room Components |  |
| --- | --- |

Laundry sink:	 N/A	Faucet leaks:	 Yes	 No	Pipes leak:	 Yes	 No

Cross connections:	 Yes	 No	Heat source present:	 Yes	 No	Room vented:	 Yes	 No

Dryer vented:	 N/A	 Wall	 Ceiling	 Floor	 Not vented

Not vented to Exterior	 Recommend repair	 Safety hazard

Electrical: 	Open ground/reverse polarity within 6’ of water:	 Yes	 No	 Safety hazard

G.F.C.I. present:	 Yes	 No	Operates:	 Yes	 No

Appliances:	 Washer	 Dryer	 Water heater	 Furnace

Washer hook-up lines/valves:	 Leaking	 Corroded	 Not visible

Gas Shut-off Valve: 	 N/A 	 Yes	 No	 Cap Needed	 Safety hazard	 Not visible

| General Comments |  |
| --- | --- |

| Bath: |  |
| --- | --- |

| Sinks / Tubs / Showers |  |
| --- | --- |

Faucet leaks:	 Yes	 No	Loose: 	 Yes	 No 	Pipes leak:	 Yes	 No

Fixture(s) Condition:	 Satisfactory	 Marginal	 Poor

| Toilet |  |
| --- | --- |

Bowl Loose: 	 Yes	 No	Operates:	 Yes	 No	 Toilet leaks	 Cracked bowl/tank	 Cross connection

| Shower / Tub Area / Sink(s) |  |
| --- | --- |

Material: 	 Ceramic/Plastic	 Fiberglass	 Masonite	 Other

Condition:	 Satisfactory	 Marginal	 Poor	 Rotted floors

Caulk/Grouting Needed:	 Yes	 No	Where:

Functional Drainage:	 Adequate	 Poor	Functional Flow:	 Adequate	 Poor

Whirlpool Operable:  	 N/A 	 Yes	 No	Access panel to pump/motor: 	 Yes 	 No

| Walls / Ceiling / Cabinets |  |
| --- | --- |

Moisture stains present:	 Yes	 No	Outlets present: 	 Yes	 No

G.F.C.I. Present:	 Yes	 No	Operates:	 Yes	 No

Open ground/Reverse polarity within 6’ of water:	 Yes	 No	Potential safety hazards present: 	 Yes	 No

| Heating / Cooling Source | Yes No |
| --- | --- |

Window/Door:	 Yes	 No	 Satisfactory	 Marginal	 Poor

Exhaust Fan:	 Yes	 No	Operates:	 Yes	 No	Noisy: 	 Yes	 No

| General Comments |  |
| --- | --- |

| Bath: |  |
| --- | --- |

| Sinks / Tubs / Showers |  |
| --- | --- |

Faucet leaks:	 Yes	 No	Loose: 	 Yes	 No 	Pipes leak:	 Yes	 No

Fixture(s) Condition:	 Satisfactory	 Marginal	 Poor

| Toilet |  |
| --- | --- |

Bowl Loose: 	 Yes	 No	Operates:	 Yes	 No	 Toilet leaks	 Cracked bowl/tank	 Cross connection

| Shower / Tub Area / Sink(s) |  |
| --- | --- |

Material: 	 Ceramic/Plastic	 Fiberglass	 Masonite	 Other

Condition:	 Satisfactory	 Marginal	 Poor	 Rotted floors

Caulk/Grouting Needed:	 Yes	 No	Where:

Functional Drainage:	 Adequate	 Poor	Functional Flow:	 Adequate	 Poor

Whirlpool Operable:  	 N/A 	 Yes	 No	Access panel to pump/motor: 	 Yes 	 No

| Walls / Ceiling / Cabinets |  |
| --- | --- |

Moisture stains present:	 Yes	 No	Outlets present: 	 Yes	 No

G.F.C.I. present:	 Yes	 No	Operates:	 Yes	 No

Open ground/Reverse polarity within 6’ of water:	 Yes	 No	Potential safety hazards present: 	 Yes	 No

| Heat / Cooling Source | Yes No |
| --- | --- |

Window/Door:	 Yes	 No	 Satisfactory	 Marginal	 Poor

Exhaust Fan:	 Yes	 No	Operates:	 Yes	 No	Noisy: 	 Yes	 No

| General Comments |  |
| --- | --- |

| Bath: |  |
| --- | --- |

| Sinks / Tubs / Showers |  |
| --- | --- |

Faucet leaks:	 Yes	 No	Loose: 	 Yes	 No 	Pipes leak:	 Yes	 No

Fixture(s) Condition:	 Satisfactory	 Marginal	 Poor

| Toilet |  |
| --- | --- |

Bowl Loose: 	 Yes	 No	Operates:	 Yes	 No	 Toilet leaks	 Cracked bowl/tank	 Cross connection

| Shower / Tub Area / Sink(s) |  |
| --- | --- |

Material: 	 Ceramic/Plastic	 Fiberglass	 Masonite	 Other

Condition:	 Satisfactory	 Marginal	 Poor	 Rotted floors

Caulk/Grouting Needed:	 Yes	 No	Where:

Functional Drainage:	 Adequate	 Poor	Functional Flow:	 Adequate	 Poor

Whirlpool Operable:  	 N/A 	 Yes	 No	Access panel to pump/motor: 	 Yes 	 No

| Walls / Ceiling / Cabinets |  |
| --- | --- |

Moisture stains present:	 Yes	 No	Outlets present: 	 Yes	 No

G.F.C.I. present:	 Yes	 No	Operates:	 Yes	 No

Open ground/Reverse polarity within 6’ of water:	 Yes	 No	Potential safety hazards present: 	 Yes	 No

| Heat / Cooling Source | Yes No |
| --- | --- |

Window/Door:	 Yes	 No	 Satisfactory	 Marginal	 Poor

Exhaust Fan:	 Yes	 No	Operates:	 Yes	 No	Noisy: 	 Yes	 No

| General Comments |  |
| --- | --- |

| Bath: |  |
| --- | --- |

| Sinks / Tubs / Showers |  |
| --- | --- |

Faucet leaks:	 Yes	 No	Loose: 	 Yes	 No 	Pipes leak:	 Yes	 No

Fixture(s) Condition:	 Satisfactory	 Marginal	 Poor

| Toilet |  |
| --- | --- |

Bowl Loose: 	 Yes	 No	Operates:	 Yes	 No	 Toilet leaks	 Cracked bowl/tank	 Cross connection

| Shower / Tub Area / Sink(s) |  |
| --- | --- |

Material: 	 Ceramic/Plastic	 Fiberglass	 Masonite	 Other

Condition:	 Satisfactory	 Marginal	 Poor	 Rotted floors

Caulk/Grouting Needed:	 Yes	 No	Where:

Functional Drainage:	 Adequate	 Poor	Functional Flow:	 Adequate	 Poor

Whirlpool Operable:  	 N/A 	 Yes	 No	Access panel to pump/motor: 	 Yes 	 No

| Walls / Ceiling / Cabinets |  |
| --- | --- |

Moisture stains present:	 Yes	 No	Outlets present: 	 Yes	 No

G.F.C.I. present:	 Yes	 No	Operates:	 Yes	 No

Open ground/Reverse polarity within 6’ of water:	 Yes	 No	Potential safety hazards present: 	 Yes	 No

| Heat / Cooling Source | Yes No |
| --- | --- |

Window/Door:	 Yes	 No	 Satisfactory	 Marginal	 Poor

Exhaust Fan:	 Yes	 No	Operates:	 Yes	 No	Noisy: 	 Yes	 No

| General Comments |  |
| --- | --- |

| Location: |  |
| --- | --- |

Walls & Ceiling:	 Satisfactory	 Marginal	 Poor

Moisture stains:	 Yes	 No             Where:

Floor:	 Satisfactory	 Marginal	 Poor            Squeaks	 Slopes

Typical cracks:	 Yes	 No

Ceiling Fan:	 N/A 	 Satisfactory	 Marginal	 Poor

Electrical: 	Switches:	 Yes	 No	Outlets:	 Yes	 No    Operates:	 Yes	 No

Open ground/Reverse polarity:  	 Yes	 No      Coverplates missing	 Safety Hazard

Heating/Cooling Source:	 Yes	 No	Holes:	 Doors	 Walls	 Ceilings

Bedroom Egress Restricted:	 N/A	 Yes	 No

- Doors & Windows:      	Operational:	 Yes	 No

Locks/Latches Operable:	 Yes	 No	 Missing	 Cracked Glass

| General Comments |  |
| --- | --- |

| Location: |  |
| --- | --- |

Walls & Ceiling:	 Satisfactory	 Marginal	 Poor

Moisture stains:	 Yes	 No             Where:

Floor:	 Satisfactory	 Marginal	 Poor            Squeaks	 Slopes

Typical cracks:	 Yes	 No

Ceiling Fan:	 N/A 	 Satisfactory	 Marginal	 Poor

Electrical: 	Switches:	 Yes	 No	Outlets:	 Yes	 No    Operates:	 Yes	 No

Open ground/Reverse polarity:  	 Yes	 No      Coverplates missing	 Safety Hazard

Heating/Cooling Source:	 Yes	 No	Holes:	 Doors	 Walls	 Ceilings

Bedroom Egress Restricted:	 N/A	 Yes	 No

- Doors & Windows:      	Operational:	 Yes	 No

Locks/Latches Operable:	 Yes	 No	 Missing	 Cracked Glass

| General Comments |  |
| --- | --- |

| Location: |  |
| --- | --- |

Walls & Ceiling:	 Satisfactory	 Marginal	 Poor

Moisture stains:	 Yes	 No             Where:

Floor:	 Satisfactory	 Marginal	 Poor            Squeaks	 Slopes

Typical cracks:	 Yes	 No

Ceiling Fan:	 N/A 	 Satisfactory	 Marginal	 Poor

Electrical: 	Switches:	 Yes	 No	Outlets:	 Yes	 No    Operates:	 Yes	 No

Open ground/Reverse polarity:  	 Yes	 No      Coverplates missing	 Safety Hazard

Heating/Cooling Source:	 Yes	 No	Holes:	 Doors	 Walls	 Ceilings

Bedroom Egress Restricted:	 N/A	 Yes	 No

- Doors & Windows:      	Operational:	 Yes	 No

Locks/Latches Operable:	 Yes	 No	 Missing	 Cracked Glass

| General Comments |  |
| --- | --- |

| Location: |  |
| --- | --- |

Walls & Ceiling:	 Satisfactory	 Marginal	 Poor

Moisture stains:	 Yes	 No             Where:

Floor:	 Satisfactory	 Marginal	 Poor            Squeaks	 Slopes

Typical cracks:	 Yes	 No

Ceiling Fan:	 N/A 	 Satisfactory	 Marginal	 Poor

Electrical: 	Switches:	 Yes	 No	Outlets:	 Yes	 No    Operates:	 Yes	 No

Open ground/Reverse polarity:  	 Yes	 No      Coverplates missing	 Safety Hazard

Heating/Cooling Source:	 Yes	 No	Holes:	 Doors	 Walls	 Ceilings

Bedroom Egress Restricted:	 N/A	 Yes	 No

- Doors & Windows:      	Operational:	 Yes	 No

Locks/Latches Operable:	 Yes	 No	 Missing	 Cracked Glass

| General Comments |  |
| --- | --- |

| Location: |  |
| --- | --- |

Walls & Ceiling:	 Satisfactory	 Marginal	 Poor

Moisture stains:	 Yes	 No             Where:

Floor:	 Satisfactory	 Marginal	 Poor            Squeaks	 Slopes

Typical cracks:	 Yes	 No

Ceiling Fan:	 N/A 	 Satisfactory	 Marginal	 Poor

Electrical: 	Switches:	 Yes	 No	Outlets:	 Yes	 No    Operates:	 Yes	 No

Open ground/Reverse polarity:  	 Yes	 No      Coverplates missing	 Safety Hazard

Heating/Cooling Source:	 Yes	 No	Holes:	 Doors	 Walls	 Ceilings

Bedroom Egress Restricted:	 N/A	 Yes	 No

- Doors & Windows:      	Operational:	 Yes	 No

Locks/Latches Operable:	 Yes	 No	 Missing	 Cracked Glass

| General Comments |  |
| --- | --- |

| Location: |  |
| --- | --- |

Walls & Ceiling:	 Satisfactory	 Marginal	 Poor

Moisture stains:	 Yes	 No             Where:

Floor:	 Satisfactory	 Marginal	 Poor            Squeaks	 Slopes

Typical cracks:	 Yes	 No

Ceiling Fan:	 N/A 	 Satisfactory	 Marginal	 Poor

Electrical: 	Switches:	 Yes	 No	Outlets:	 Yes	 No    Operates:	 Yes	 No

Open ground/Reverse polarity:  	 Yes	 No      Coverplates missing	 Safety Hazard

Heating/Cooling Source:	 Yes	 No	Holes:	 Doors	 Walls	 Ceilings

Bedroom Egress Restricted:	 N/A	 Yes	 No

- Doors & Windows:      	Operational:	 Yes	 No

Locks/Latches Operable:	 Yes	 No	 Missing	 Cracked Glass

| General Comments |  |
| --- | --- |

| Location: |  |
| --- | --- |

Walls & Ceiling:	 Satisfactory	 Marginal	 Poor

Moisture stains:	 Yes	 No             Where:

Floor:	 Satisfactory	 Marginal	 Poor            Squeaks	 Slopes

Typical cracks:	 Yes	 No

Ceiling Fan:	 N/A 	 Satisfactory	 Marginal	 Poor

Electrical: 	Switches:	 Yes	 No	Outlets:	 Yes	 No    Operates:	 Yes	 No

Open ground/Reverse polarity:  	 Yes	 No      Coverplates missing	 Safety Hazard

Heating/Cooling Source:	 Yes	 No	Holes:	 Doors	 Walls	 Ceilings

Bedroom Egress Restricted:	 N/A	 Yes	 No

- Doors & Windows:      	Operational:	 Yes	 No

Locks/Latches Operable:	 Yes	 No	 Missing	 Cracked Glass

| General Comments |  |
| --- | --- |

| Location: |  |
| --- | --- |

Walls & Ceiling:	 Satisfactory	 Marginal	 Poor

Moisture stains:	 Yes	 No             Where:

Floor:	 Satisfactory	 Marginal	 Poor            Squeaks	 Slopes

Typical cracks:	 Yes	 No

Ceiling Fan:	 N/A 	 Satisfactory	 Marginal	 Poor

Electrical: 	Switches:	 Yes	 No	Outlets:	 Yes	 No    Operates:	 Yes	 No

Open ground/Reverse polarity:  	 Yes	 No      Coverplates missing	 Safety Hazard

Heating/Cooling Source:	 Yes	 No	Holes:	 Doors	 Walls	 Ceilings

Bedroom Egress Restricted:	 N/A	 Yes	 No

- Doors & Windows:      	Operational:	 Yes	 No

Locks/Latches Operable:	 Yes	 No	 Missing	 Cracked Glass

| General Comments |  |
| --- | --- |

| Location: |  |
| --- | --- |

Walls & Ceiling:	 Satisfactory	 Marginal	 Poor

Moisture stains:	 Yes	 No             Where:

Floor:	 Satisfactory	 Marginal	 Poor            Squeaks	 Slopes

Typical cracks:	 Yes	 No

Ceiling Fan:	 N/A 	 Satisfactory	 Marginal	 Poor

Electrical: 	Switches:	 Yes	 No	Outlets:	 Yes	 No    Operates:	 Yes	 No

Open ground/Reverse polarity:  	 Yes	 No      Coverplates missing	 Safety Hazard

Heating/Cooling Source:	 Yes	 No	Holes:	 Doors	 Walls	 Ceilings

Bedroom Egress Restricted:	 N/A	 Yes	 No

- Doors & Windows:      	Operational:	 Yes	 No

Locks/Latches Operable:	 Yes	 No	 Missing	 Cracked Glass

| General Comments |  |
| --- | --- |

| Interior Windows / Glass |  |
| --- | --- |

Condition:	 Satisfactory	 Marginal	 Poor               Needs repair

Representative number of windows operated	 Painted shut   (See remarks page)

Evidence of Leaking Insulated Glass:	 Yes	 No	 N/A 	Safety Glazing Needed: 	 Yes	 No

Glazing compound needed	 Cracked glass	 Hardware missing	 Broken counter-balance mechanism

Security Bars Present:	 Yes	 No	 Not tested	 Safety hazard	 Test release mechanism before moving in

| Fireplace | None Location(s): |
| --- | --- |

Type:	 Gas (Not Tested)	 Wood	 Woodburner stove  (See remarks page) 	 Electric	 Ventless

Material:	 Masonry	 Metal (pre-fabricated)	 Metal insert

Miscellaneous:	 Blower built-in    	Operates: 	 Yes	 No	Damper operates:	 Yes	 No

Open joints or cracks in firebrick/panels should be sealed	 Fireplace doors need repair

Damper Modified for Gas Operation:	 Yes	 No	 Damper missing	 Pre-fab panels damaged/worn

Hearth Adequate:	 Yes	 No	Mantle: 	 N/A	 Satisfactory	 Adequate 	 Loose/missing

Physical Condition:	 Satisfactory	 Marginal	 Poor	 Recommend having flue cleaned and re-examined

| Stairs / Steps / Balconies | Satisfactory Marginal Poor None |
| --- | --- |

Handrail:		 Satisfactory	 Marginal	 Poor	 Safety hazard

Risers/Treads:		 Satisfactory	 Marginal	 Poor	 Risers/Treads uneven

| Smoke / Carbon Monoxide Detectors | (See remarks page) |
| --- | --- |

Present:		Smoke Detector: 	 Yes	 No		Operates: 	 Yes	 No	 Not tested

CO Detector: 	 Yes	 No		Operates: 	 Yes	 No	 Not tested

| Attic/STRUCTURE/FRAMING/INSULATION | N/A |
| --- | --- |

Access: 	 Stairs	 Pulldown	 Scuttlehole/Hatch	 No access	 Other

Inspected From: 	 Access panel	 In the attic	 Other

Location: 	 Bedroom hall	 Bedroom closet	 Garage	 Other

Access Limited By:

Flooring: 	 Complete	 Partial	 None

Insulation: 	Type: 	 Batts	 Loose	Average inches:    Approx. R-rating:

Damaged	 Displaced	 Missing	 Compressed 	 Recommend Baffles @ Eaves

Installed In: 	 Rafters	 Walls	 Between ceiling joists	 Not visible

Recommend additional insulation

Ventilation:	 Ventilation appears adequate	 Recommend additional ventilation

Fans Exhausted To:	 N/A 	Attic:	 Yes	 No	Outside:	 Yes	 No	 Not visible

HVAC Duct: 	 Satisfactory	 Damaged	 Split	 Disconnected	 Leaking	 Repair/Replace

Chimney Chase: 	 N/A 	 Satisfactory	 Needs repair	 Not visible

Structural Problems Observed:	 Yes	 No	 Recommend repair	 Recommend Structural Engineer

Roof Structure: 	 Rafters	 Trusses	 Wood	 Metal		 Other

Collar Ties Present: 	 Yes	 No	 N/A

Roof Sheathing: 	 Plywood	 OSB	 lx Wood	 Rotted	 Stained	 Delaminated

Evidence of Condensation/Moisture Leaking:	 Yes	 No	(See remarks page)

Ceiling Joists: 	 Wood	 Metal	 Other	 Not visible

Vapor Barriers: 	 Kraft/foil faced	 Plastic	 Not visible	 Improperly installed

Firewall Between Units: 	 N/A 	 Yes	 No 	 Needs repair/sealing	(See remarks page)

Electrical:	 Open junction box(es)	 Handyman wiring	 Visible knob-and-tube

| General Comments |  |
| --- | --- |

| Stairs | N/A |
| --- | --- |

Condition:	 Satisfactory	 Marginal	 Poor 	 Typical wear and tear	 Need repair

Handrail:	 Yes	 No      	Condition:	 Satisfactory	 Loose

Headway Over Stairs:	 Satisfactory	 Low clearance	 Safety hazard

| Foundation | Condition: Satisfactory Marginal Have evaluated Monitor Monitor |
| --- | --- |

Material:	 Brick 	 Concrete block	 Fieldstone	 Poured concrete

Horizontal Cracks:	 North	 South	 East	 West

Step Cracks:	 North	 South	 East	 West

Vertical Cracks:	 North	 South	 East	 West

Covered Walls:	 North	 South	 East	 West

Movement Apparent:	 North	 South	 East	 West

Indication Of Moisture:	 Yes	 No	 Fresh 	 Old stains

Condition reported above reflects visible portion only

| Basement/Crawl Space Walls |  | North |  |
| --- | --- | --- | --- |
| Diagram indicates where wall not visible |  |  |  |  |  |
| and type of covering: |  |  |  |  |  |
| P = Paneling | C = Crack(s) |  |  |  |  |  |
| D = Drywall | M = Monitor | West |  |  |  | East |
| S = Storage | E = Evaluate |  |  |  |  |  |
| O = Other |  |  | South |  |  |
| Floor | Material: Concrete Dirt/Gravel Not visible Other |

Condition:	 Satisfactory	 Marginal	 Poor 	 Typical cracks

| Seismic Bolts |  |
| --- | --- |

N/A	 None visible	 Appear satisfactory	 Recommend evaluation

| Basement Drainage |  |
| --- | --- |

Sump Pump:	 Yes	 No	 Working	 Not working 	 Needs cleaning 	 Not tested

Floor Drains:	 Yes	 Not visible	Tested:	 Yes	 No 	 Efflorescence present

| Girders / Beams / Columns | Material: Steel Wood Block Concrete Not visible |
| --- | --- |

Condition:	 Satisfactory  	 Marginal  	 Poor  	 Stained/rusted

| Joists | Material: Wood Steel Truss Not visible |
| --- | --- |

2x8	 2x10	 2x12 	 Engineered I-Type	 Sagging/altered joists

Condition:	 Satisfactory  	 Marginal  	 Poor

| Sub Floor |  |
| --- | --- |

Indication of moisture stains/rotting

** Areas around shower stalls, etc., as viewed from basement or crawl space

| General Comments |  |
| --- | --- |

| Crawl Space | N/A Full crawlspace Combination basement/crawl space/slab |
| --- | --- |

Conditioned (heated/cooled): 	 Yes	 No

| Access | Exterior Interior hatch door Via basement No Access |
| --- | --- |

Inspected from:	 Access panel	 In the crawl space

| Foundation Walls | Condition: Satisfactory Marginal Have evaluated Monitor |
| --- | --- |

Concrete block	 Poured	 Stone

Wood	 Brick	 Piers & columns

Cracks	 Movement

| Floor |  |
| --- | --- |

Concrete	 Gravel	 Dirt	 Other

Typical cracks

| Seismic Bolts |  |
| --- | --- |

N/A	 None visible	 Appear satisfactory	 Recommend evaluation

| Drainage |  |
| --- | --- |

Outside drain	Sump pump: 	 Yes	 No	Operable:	 Yes	 No

None apparent 	Evidence of moisture damage:	 Yes	 No

| Ventilation | Wall vents Power vents None apparent |
| --- | --- |

| Girders / Beams / Columns | Steel Wood Masonry Not visible |
| --- | --- |

Condition:	 Satisfactory  	 Marginal  	 Poor

| Joists | Material: Wood Steel Truss Not visible |
| --- | --- |

2x8	 2x10	 2x12 	 Engineered I-Type	 Sagging/altered joists

Condition:	 Satisfactory  	 Marginal  	 Poor

| Sub Floor | Not visible Wood Concrete Other |
| --- | --- |

| Moisture Stains | None Walls Sub floor Other |
| --- | --- |

| Insulation | None Type: |
| --- | --- |

Location: 	 Walls	 Between floor joists	 Other

| Vapor Barrier | Yes No |
| --- | --- |

Kraft/foil face	 Plastic	 Other 	 Not visible

| Basement/Crawl Space Walls |  | North |  |
| --- | --- | --- | --- |
| Diagram indicates where wall not visible |  |  |  |  |  |
| and type of covering: |  |  |  |  |  |
| P = Paneling | C = Crack(s) |  |  |  |  |  |
| D = Drywall | M = Monitor | West |  |  |  | East |
| S = Storage | E = Evaluate |  |  |  |  |  |
| O = Other |  |  | South |  |  |
| General Comments |  |

| Water Service | Main Shut-off Location: |
| --- | --- |

Water Entry Piping:	 Not visible	 Copper/Galv.	 Plastic* (PVC, CPVC, Polybutylene, PEX)	 Unknown

Visible Water Distribution Piping:	 Copper	 Galvanized	 Plastic* (PVC, CPVC, Polybutylene, PEX)	 Unknown

Condition:	 Satisfactory	 Marginal	 Poor

Lead Other Than Solder Joints:	 Yes	 No	 Unknown 	 Service entry

Functional Flow:	 Adequate	 Poor	 Water pressure over 80 psi

Pipes, Supply/Drain:	 Corroded	 Leaking	 Valves broken/missing	 Dissimilar metal

Drain/Waste/Vent Pipe:	 Copper	 Cast iron	 Galvanized 	 PVC	 ABS

Condition:	 Satisfactory	 Marginal	 Poor 	Cross connection: 	 Yes 	 No

Support/Insulation:	Type:

Traps Proper P-Type:	 N/A	 Yes	 No	 P-traps recommended

Functional Drainage:	 Adequate	 Poor	 Recommend plumber evaluate

Interior Fuel Storage System:	 Yes	 No	Leaking:  	 Yes 	 No

Gas Line:	 Copper	 Brass	 Black iron 	 Stainless steel	 CSST	 Not visible

Condition:	 Satisfactory	 Marginal	 Poor

| Main Fuel Shut-Off Location | N/A |
| --- | --- |

| Well Pump | N/A Submersible |
| --- | --- |

Location:	 In basement	 Well house 	 Well pit	 Shared well

Pressure Gauge Operates:	 Yes	 No	 Unknown	Well pressure:  ??? psi	 Not visible

| Sanitary / Grinder Pump | N/A |
| --- | --- |

Sealed Crock:	 Yes	 No	Check Valve:	 Yes 	 No	Vented:	 Yes 	 No

| Water Heater #1 | N/A Condition: Satisfactory Marginal Poor |
| --- | --- |

Brand name: 		Serial #: ???

Type:	 Gas	 Electric	 Oil 	 Other

Unit Elevated:	 Yes	 No	 N/A 	 Tank/Piping corroded/leaking

Capacity: 	 gallons	Approximate age:   year(s)

Combustion Air Venting Present:	 Yes	 No	 N/A	Seismic restraints needed:	 Yes 	 No	 N/A

Relief Valve:	 Yes	 No	Extension proper:	 Yes 	 No	 Missing	 Recommend repair

Vent Pipe:	 N/A	 Satisfactory	 Pitch proper	 Improper	 Rusted	 Recommend repair

| Water Heater #2 | N/A Condition: Satisfactory Marginal Poor |
| --- | --- |

Brand name: 		Serial #: ???

Type:	 Gas	 Electric	 Oil 	 Other

Unit Elevated:	 Yes	 No	 N/A 	 Tank/Piping corroded/leaking

Capacity: 	 gallons	Approximate age:   year(s)

Combustion Air Venting Present:	 Yes	 No	 N/A	Seismic restraints needed:	 Yes 	 No	 N/A

Relief Valve:	 Yes	 No	Extension proper:	 Yes 	 No	 Missing	 Recommend repair

Vent Pipe:	 N/A	 Satisfactory	 Pitch proper	 Improper	 Rusted	 Recommend repair

| Water Softener | (Unit not evaluated) |
| --- | --- |

Loop Installed: 	 Yes	 No	Plumbing Hooked Up:	 Yes 	 No

Softener Present: 	 Yes	 No	Plumbing Leaking:	 Yes 	 No

| General Comments |  |
| --- | --- |

| Heating System - Unit #1 | Location: (See remarks page) |
| --- | --- |

Brand Name: 		Approximate age:  year(s)	 Unknown

Model #: ???	Serial #: ???

Energy Source:	 Gas	 LP	 Oil 	 Electric	 Solid Fuel

Warm Air System:	 Belt drive	 Direct drive	 Gravity	 Central system	 Floor/Wall unit

Heat Exchanger:	 N/A (sealed)	 Visual w/mirror	 Flame distortion	 Rusted	 Carbon/soot buildup

Carbon Monoxide:	 N/A	 Detected at Plenum/Register	 Not tested

CO Test:	Tester: 	Combustion Air Venting Present:	 Yes	 No	 N/A

Controls:	Disconnect:   Yes	 No	 Normal operating and safety controls observed

Distribution:	 Metal duct	 Insul. flex duct	 Cold air returns	 Duct board	 Asbestos-like wrap

Flue Piping:	 N/A	 Rusted	 Improper slope	 Safety hazard

Supports for Piping/Insulation:	 N/A	 Yes	 No

Filter:	 Standard	 Electrostatic	 Satisfactory	 Needs cleaning/replacement	 Missing

When Turned On By Thermostat:	 Fired	 Did not fire 	Proper Operation: 	 Yes	 No	 Not tested

Heat Pump:	 Aux. electric	 Aux. gas	 N/A	Sub-Slab ducts: 	 Yes	 No	 N/A

System Not Operated Due To: 	 Exterior temperature	 Other

Recommend technician examine	System Condition: 	 Satisfactory	 Marginal	 Poor

| Boiler System | N/A |
| --- | --- |

Brand Name: 		Approximate age:  year(s)	 Unknown

Model #: ???	Serial #: ???

System not operated due to:

Energy Source:	 Gas	 LP	 Oil	 Electric

Distribution:	 Hot water	 Baseboard	 Steam 	 Radiator

Circulator:	 Pump	 Gravity	 Multiple zones

Controls:	Temp/pressure gauge exist:	 Yes	 No	Operating:	 Yes	 No

Oil Fired Units:	Disconnect:	 Yes	 No	Combustion Air Venting Present:	 Yes	 No	 N/A

Relief valve:	 Yes	 No	 Missing	Extension proper:	 Yes	 No

Operated:	When turned on by thermostat:	 Fired	 Did not fire

Operation:	Satisfactory:	 Yes	 No	 Recommend HVAC technician examine	 Before closing

| Other Systems | N/A Electric baseboard Radiant ceiling cable |
| --- | --- |

Gas space heater	 Woodburning stove	(See Remarks page)

Proper Operation:	 Yes	 No

System Condition:	 Satisfactory	 Marginal	 Poor

| General Comments |  |
| --- | --- |

| Main Panel | Location: Condition: Satisfactory Marginal Poor |
| --- | --- |

Adequate Clearance To Panel: 	 Yes	 No	Amperage:  Volts 120/240	 Breakers	 Fuses

Appears Grounded:	 Yes	 No	 Not visible

G.F.C.I. present: 	 Yes	 No	Operative: 	 Yes	 No

A.F.C.I. present: 	 Yes	 No	Operative: 	 Yes	 No

Main Wire:	 Copper	 Aluminum	 Copper clad aluminum 	 Not visible

Tapping before the main breaker 	 Double tapping of the main wire

Condition:	 Satisfactory	 Poor 	 Federal Pacific Panel Stab Lok®  (See remarks page)*

Branch Wire:	 Copper	 Aluminum*	 Copper clad aluminum 	 Not visible

Condition:	 Satisfactory	 Poor 	 Recommend electrician evaluate/repair*

Romex	 BX cable	 Conduit 	 Knob & tube**

Double tapping	 Wires undersized/oversized breaker/fuse

Panel not accessible	 Not evaluated   Reason:

| Sub Panel(s) | None apparent |
| --- | --- |

Location 1: 	Location 2: 	Location 3:

Panel not accessible	 Not evaluated   Reason:

Branch Wire:	 Copper	 Aluminum	 Copper clad aluminum

Neutral/ground separated: 	 Yes	 No 	Neutral isolated: 	 Yes	 No	 Safety hazard

Condition:	 Satisfactory	 Marginal	 Poor	 Recommend separating/isolating neutrals

| Electrical Fixtures |  |
| --- | --- |

A representative number of installed lighting fixtures, switches, and receptacles located inside the house, garage, and exterior walls were tested and found to be:

Condition:	 Satisfactory	 Marginal	 Poor

Open grounds	 Reverse polarity	 GFCIs not operating

Solid conductor aluminum branch wiring circuits*	(See remarks page)

Ungrounded 3-prong outlets 	 Recommend electrician evaluate/repair*

| General Comments |  |
| --- | --- |

| Cooling System – Unit #1 | Central system Wall Unit Location: Age: yrs. |
| --- | --- |

Energy Source:	 Electric	 Gas	 Water	 Other

Unit Type:	 Air cooled	 Water cooled	 Gas chiller	 Geothermal	 Heat pump

Evaporator Coil:	 Satisfactory	 Not visible	 Needs cleaning	 Damaged

Refrigerant lines:	 Leak	 Damage	 Insulation missing		 Satisfactory

Condensate Line/Drain:	 To exterior	 To pump	 Floor drain	 Other

Operation:	Differential ??? (F

Difference in temperature (split) should be 14-22( Fahrenheit	(See remarks page)

Condition:	 Satisfactory	 Marginal	 Poor

Not operated due to exterior temperature 	 Recommend HVAC technician examine/clean/service

| General Comments |  |
| --- | --- |

ITEMS NOT OPERATING

MAJOR CONCERNS

Item(s) that have failed or have potential of failing soon.

POTENTIAL SAFETY HAZARDS

DEFERRED COST ITEMS

Items that have reached or are reaching their normal life expectancy or show indications that they may require repair or replacement anytime during the next five (5) years.

*	Items listed in this report may inadvertently have been left off the Summary Sheet.  Customer should read the entire report, including the Remarks.

REMARKS

| SERVICE WALKS/DRIVEWAYS |  |
| --- | --- |

Spalling concrete cannot be patched with concrete because the new will not bond with the old. Water will freeze between the two layers, or the concrete will break up from movement or wear. Replacement of the damaged section is recommended. Walks or driveways that are close to the property should be properly pitched away to direct water away from the foundation. Asphalt driveways should be kept sealed and larger cracks filled so as to prevent damage from frost.

Patios  that have settled towards the structure should be mudjacked or replaced to assure proper pitch. Improperly pitched patios are one source of wet basements.

| EXTERIOR WOOD SURFACES |  |
| --- | --- |

All surfaces of untreated wood need regular applications of paint or special chemicals to resist damage. Porch or deck columns and fence posts which are buried in the ground and made of untreated wood will become damaged within a year or two.

Decks should always be nailed with galvanized, stainless steal or aluminum nails. Decks that are not painted or stained should be treated with a water sealer.

| GRADING AND DRAINAGE |  |
| --- | --- |

Any system of grading or landscaping that creates positive drainage (moving water away from the foundation walls) will help to keep a basement dry. Where negative grade exists and additional backfill is suggested, it may require digging out around the property to get a proper pitch. Dirt shall be approximately 6” below the bottom sill and should not touch wood surfaces.

Flower beds, loose mulched areas, railroad ties and other such landscaping items close to the foundation trap moisture and contribute to wet basements. To establish a positive grade, a proper slope away from the house is 1” per foot for approximately 5-6 feet. Recommend ground cover planting or grass up to foundation.

| ROOF AND SURFACE WATER CONTROL |  |
| --- | --- |

Roof and surface water must be controlled to maintain a dry basement. This means keeping gutters cleaned out and

aligned, extending downspouts, installing splashblocks, and building up the grade so that roof and surface water is

diverted away from the building.

| WINDOW WELLS |  |
| --- | --- |

The amount of water which enters a window well from falling rain is generally slight, but water will accumulate in window wells if the yard is improperly graded. Plastic window well covers are useful in keeping out leaves and debris.

| RETAINING WALLS |  |
| --- | --- |

Retaining walls deteriorate because of excessive pressure buildup behind them, generally due to water accumulation. Conditions can often be improved by excavating a trench behind the retaining wall and filling it with coarse gravel. Drain holes through the wall will then be able to relieve the water pressure.

Retaining walls sometime suffer from tree root pressure or from general movement of topsoil down the slope. Normally, these conditions require rebuilding the retaining wall.

| RAILINGS |  |
| --- | --- |

It is recommended that railings be installed for any stairway over 3 steps and porches over 30” for safety reasons. Balusters for porches, balconies, and stairs should be close enough to assure children cannot squeeze through.

REMARKS

Valleys and Flashings that are covered with shingles and/or tar or any other material are considered not visible and are not part of the inspection.

Tar and Gravel Roofs  are a type of covering on a pitched roof requires ongoing annual maintenance. We recommend that a roofing contractor evaluate this type of roof. Infra-red photography is best used to determine areas of potential leaks.

Flat roofs are very vulnerable to leaking. It is very important to maintain proper drainage to prevent the ponding of water. We recommend that a roofing contractor evaluate this type of roof.

| ROOF TYPE | LIFE EXPECTANCY | SPECIAL REMARKS |
| --- | --- | --- |
| Asphalt Shingles | 15-20 years | Used on nearly 80% of all residential roofs; requires little maintenance |
| Asphalt Multi-Thickness Shingles* | 20-30 years | Heavier and more durable than regular asphalt shingles |
| Asphalt Interlocking Shingles* | 15-25 years | Especially good in high-wind areas |
| Asphalt Rolls | 10 years | Used on low slope roofs |
| Built-up Roofing | 10-20 years | Used on low slope roofs; 2 to 3 times as costly as asphalt shingles |
| Wood Shingles* | 10-40 years1 | Treat with preservative every 5 years to prevent decay |
| Clay Tiles* Cement Tiles* | 20 + years 20 + years | Durable, fireproof, but not watertight, requiring a good subsurface base |
| Slate Shingles* | 30-100 years2 | Extremely durable, but brittle and expensive |
| Asbestos Cement Shingles* | 30-75 years | Durable, but brittle and difficult to repair |
| Metal Roofing | 15-40 + years | Comes in sheets & shingles; should be well grounded for protection from lightning; certain metals must be painted |
| Single Ply Membrane | 15-25 years (mfgr’s claim) | New material; not yet passed test of time |
| Polyurethane with Elastomenic Coating | 5-10 years1 | Used on low slope roofs. |

* Not recommended for use on low slope roof	1 Depending on local conditions and proper installation

2 Depending on quality of slate

Roof coverings should be visually checked in the spring and fall for any visible missing shingles, damaged coverings or other defects. Before re-roofing, the underside of the roof structure and roof sheathing should be inspected to determine that the roof structure can support the additional weight of the shingles.

Wood shakes and shingles will vary in aging, due to the quality of the material, installation, maintenance, and surrounding shade trees. Ventilation and drying of the wood material is critical in extending the life expectancy of the wood. Commercial preservatives are available on the market, which could be applied to wood to impede deterioration.

REMARKS

| CHIMNEYS |  |
| --- | --- |

Chimneys built of masonry will eventually need tuckpointing. A cracked chimney top that allows water and carbonic acid to get behind the surface brick/stone will accelerate the deterioration. Moisture will also deteriorate the clay flue liner. Periodic chimney cleaning will keep you apprised of the chimney’s condition. The flashing around the chimney may need resealing and should be inspected every year or two. Fireplace chimneys should be inspected and evaluated by a chimney professional before using. Chimneys must be adequate height for proper drafting. Spark arrestors are recommended for a wood burning chimney, and chimney caps for fossil fuels.

Unlined Chimney  should be re-evaluated by a chimney technician.

Have flue cleaned and re-evaluated. The flue lining is covered with soot or creosote and no representation can be made as to the condition.

| NOT EVALUATED |  |
| --- | --- |

The flue was not evaluated due to inaccessibility such as roof pitch, cap, cleanout not accessible, etc.

| CRICKET FLASHING |  |
| --- | --- |

Small, sloped structure made of metal and designed to drain moisture away from a chimney. Usually placed at the back of a chimney.

| GUTTERS AND DOWNSPOUTS |  |
| --- | --- |

This is an extremely important element in basement dampness control. Keep gutters clean and downspout extensions in place (4’ or more). Paint the inside of galvanized gutters, which will extend the life. Shortly after a rain or thaw in winter, look for leaks at seams in the gutters. These can be recaulked before they cause damage to fascia or soffit boards. If no gutters exist, it is recommended that they be added.

| SIDING |  |
| --- | --- |

Wood siding should not come in contact with the ground. The moisture will cause rotting to take place and can attract carpenter ants. See page 34 for siding that have known problems, but are not always recognizable. EIFS This type of siding is a synthetic stucco and has experienced serious problems. It requires a certified EIFS inspector to determine condition.

Brick and stone veneer must be monitored for loose or missing mortar. Some brick and stone are susceptible to spalling. This can be caused when moisture is trapped and a freeze/thaw situation occurs. There are products on the market that can be used to seal out the moisture. This holds true for brick and stone chimneys also.

Metal siding will dent and scratch. Oxidation is a normal reaction in aluminum. There are good cleaners on the market and it is recommended that they be used occasionally. Metal siding can be painted.

| DOORS AND WINDOWS |  |
| --- | --- |

These can waste an enormous amount of energy. Maintain the caulking around the frames on the exterior. Check for drafts in the winter and improve the worst offenders first. Windows that have leaky storm windows will usually have a lot of sweating. Likewise, well-sealed storms that sweat indicate a leaky window. It is the tighter unit that will sweat (unless the home has excess humidity to begin with).

Wood that exhibits blistering or peeling paint should be examined for possible moisture sources: roof leaks, bad gutters, interior moisture from baths or laundry or from a poorly vented crawl space. Some paint problems have no logical explanation, but many are a symptom of an underlying problem. A freshly painted house may mask these symptoms, but after you have lived in the home for a year or two, look for localized paint blistering (peeling). It may be a clue.

New glazing will last longer if the raw wood is treated with boiled linseed oil prior to glazing. It prevents the wood from drawing the moisture out of the new glazing.

| CAULKING |  |
| --- | --- |

Many different types of caulk are available on the market today. Check with a paint or hardware store for the kind of application you need.

REMARKS

| EXTERIOR DOORS |  |
| --- | --- |

The exposed side of exterior doors needs to be painted or properly stained and varnished to prevent discoloring and delamination. Weatherstripping is a must to prevent drafts.

| ELECTRICAL |  |
| --- | --- |

Extension cord wiring to an automatic door opener should be removed and an outlet should be installed by the opener.

REMARKS

| OVERHEAD DOOR OPENERS |  |
| --- | --- |

We recommend that a separate electrical outlet be provided. Openers that do not have a safety reverse are considered a safety hazard. Small children and pets are especially vulnerable. We recommend the operating switches be set high enough so children cannot reach them. If a electric sensor is present, it should be tested occasionally to ensure it is working.

GARAGE SILL PLATES should be elevated or treated lumber should be used. If this is not the case, try to direct water away to prevent rotting.

| A/C COMPRESSORS |  |
| --- | --- |

They should not become overgrown with foliage. Clearance requirements vary, but 2’ on all sides should be considered minimal with up to 6’ of air discharge desirable. If a clothes dryer vent is within five to ten feet, either relocate the vent or do not run when the A/C is running. The lint will quickly reduce the efficiency of the A/C unit.

| BURNERS |  |
| --- | --- |

Any appliance such as a water heater, furnace, etc. should have the flame a minimum of 18" above the floor. Any open flame less than 18" from the floor is a potential safety hazard. The appliance should also be protected from vehicle damage.

KITCHEN REMARKS

| PLASTER ON WOOD LATH |  |
| --- | --- |

Plaster on wood lath is an old technique and is no longer in general use. Wood lath shrinks with time and the nails rust and loosen. As a result, the plaster may become fragile and caution is needed in working with this type of plastering system. Sagging ceilings are best repaired by laminating drywall over the existing plaster and screwing it to the ceiling joists.

| PLASTER ON GYPSUM LATH (ROCK LATH) |  |
| --- | --- |

Plaster on gypsum lath will sometimes show the seams of the 16” wide gypsum lath, but this does not indicate a structural fault. The scalloping appearance can be leveled with drywall joint compound and fiberglass mesh joint tape or drywall can be laminated over the existing plaster on the ceiling.

| WOOD FLOORING |  |
| --- | --- |

Always attempt to clean wood floors first before making the decision to refinish the floor. Wax removers and other mild stripping agents plus a good waxing and buffing will usually produce satisfactory results. Mild bleaching agents help remove deep stains. Sanding removes some of the wood in the floor and can usually be done safely only once or twice in the life of the floor.

| NAIL POPS |  |
| --- | --- |

Drywall nail pops are due to normal expansion and contraction of the wood members to which the drywall is nailed and are usually of no structural significance.

| CARPETING |  |
| --- | --- |

Where carpeting has been installed, the materials and condition of the floor underneath cannot be determined.

| APPLIANCES |  |
| --- | --- |

(If report indicated appliances were operated, the following applies) Dishwashers are tested to see if the motor operates and water sprays properly. Stoves are tested to see that burners are working and oven and broiler get hot. Timer and controls are not tested. Refrigerators are not tested.

No representation is made to continued life expectancy of any appliance.

| ASBESTOS AND OTHER HAZARDS |  |
| --- | --- |

Asbestos fibers in some form are present in many homes, but are often not visible and cannot be identified without testing.

If there is reason to suspect that asbestos may be present and if it is of particular concern, a sample of the material in question may be removed and analyzed in a laboratory. However, detecting or inspecting for the presence or absence of asbestos is not a part of our inspection.

Also excluded from this inspection and report are the possible presence of, or danger from, radon gas, lead-based paint, urea formaldehyde, toxic or flammable chemicals and all other similar or potentially harmful substances and environmental hazards.

| WINDOWS |  |
| --- | --- |

A representative number of windows are inspected.

REMARKS

| STALL SHOWER |  |
| --- | --- |

The metal shower pan in a stall shower has a potential or probable life of 10-20 years depending on quality of the pan installed. Although a visible inspection is made to determine whether a shower pan is currently leaking, it cannot be stated with certainty that no defect is present or that one may not soon develop. Shower pan leaks often do not show except when the shower is in actual use.

| CERAMIC TILE |  |
| --- | --- |

Bathroom tile installed in a mortar bed is excellent. It is still necessary to keep the joint between the tile and the tub/shower caulked or sealed to prevent water spillage from leaking through and damaging the ceilings below. Ceramic tile is often installed in mastic. It is important to keep the tile caulked or water will seep behind the tile and cause deterioration in the wallboard. Special attention should be paid to the area around faucets and other tile penetrations.

| EXHAUST FANS |  |
| --- | --- |

Bathrooms with a shower should have exhaust fans when possible. This helps to remove excess moisture from the room, preventing damage to the ceiling and walls and wood finishes. The exhaust fan should not be vented into the attic. The proper way to vent the fan(s) is to the outside. Running the vent pipe horizontally and venting into a gable end or soffit is preferred. Running the vent pipe vertically through the roof may cause condensation to run down the vent pipe, rusting the fan and damaging the wallboard. Insulating the vent pipe in the attic will help to reduce this problem.

SLOW DRAINS on sinks, tubs, and showers are usually due to build up of hair and soap scum. Most sink popups can be easily removed for cleaning. Some tubs have a spring attached to the closing lever that acts as a catch for hair. It may require removing a couple of screws to disassemble. If you cannot mechanically remove the obstruction, be kind to your pipes. Don’t use a caustic cleaner. There are several bacteria drain cleaners available. They are available at hardware stores in areas where septic tanks are used. These drain cleaners take a little longer to work, but are safe for you and your pipes.

| SAFETY HAZARDS |  |
| --- | --- |

Typical safety hazards found in bathrooms are open grounds or reverse polarity by water.

Replacing these outlets with G.F.C.I.’s are recommended.

| WHIRLPOOL TUBS |  |
| --- | --- |

This relates to interior tubs hooked up to interior plumbing. Where possible, the motor will be operated to see that the jets are working. Hot tubs and spas are not inspected.

ROOMS REMARKS

| DOOR STOPS |  |
| --- | --- |

All swinging doors should be checked for door stops. Broken or missing door stops can result in door knobs breaking through drywall or plaster.

| CLOSET GUIDES |  |
| --- | --- |

Sliding closet doors should be checked to see that closet guides are in place. Missing or broken closet guides can cause scratches and damage to doors.

| COLD AIR RETURNS |  |
| --- | --- |

Bedrooms that do not have cold air returns in them should have a 3/4” gap under the doors to allow cold air to be drawn into the hall return.

AN INSPECTION VERSUS A WARRANTY

A home inspection is just what the name indicates, an inspection of a home...usually a home that is being purchased. The purpose of the inspection is to determine the condition of the various systems and structures of the home. While an inspection performed by a competent inspection company will determine the condition of the major components of the home, no inspection will pick up every minute latent defect. The inspector’s ability to find all defects is limited by access to various parts of the property, lack of information about the property and many other factors. A good inspector will do his or her level best to determine the condition of the home and to report it accurately. The report that is issued is an opinion as to the condition of the home. This opinion is arrived at by the best technical methods available to the home inspection industry. It is still only an opinion.

A warranty is a policy sold to the buyer that warrants that specific items in the home are in sound condition and will remain in sound condition for a specified period of time. Typically, the warranty company never inspects the home. The warranty company uses actuarial tables to determine the expected life of the warranted items and charges the customer a fee for the warranty that will hopefully cover any projected loss and make a profit for the warranty seller. It is essentially an insurance policy.

The service that we have provided you is an inspection. We make no warranty of this property. If you desire warranty coverage, please see your real estate agent for details about any warranty plan to which their firm may have access.

REMARKS

| WINDOW FRAMES AND SILLS |  |
| --- | --- |

Window frames and sills are often found to have surface deterioration due to condensation that has run off the window and damaged the varnish. Usually this can be repaired with a solvent style refinisher and fine steel wool. This is sometimes a sign of excess humidity in the house.

See comments regarding caulking doors and windows.

| FIREPLACES |  |
| --- | --- |

It is important that a fireplace be cleaned on a routine basis to prevent the buildup of creosote in the flue, which can cause a chimney fire.

Masonry fireplace chimneys are normally required to have a terra cotta flue liner or 8 inches of masonry surrounding each flue in order to be considered safe and to conform with most building codes.

During visual inspections, it is not uncommon to be unable to detect the absence of a flue liner either because of stoppage at the firebox, a defective damper or lack of access from the roof.

| WOODBURNERS |  |
| --- | --- |

Once installed, it can be difficult to determine proper clearances for woodburning stoves. Manufacturer specifications, which are not usually available to the inspector, determine the proper installation. We recommend you ask the owner for paperwork, verifying that it was installed by a professional contractor.

| VENTILATION |  |
| --- | --- |

Ventilation is recommended at the rate of one square foot of vent area to 300 square feet of attic floor space, this being divided between soffit and rooftop. Power vents should ideally have both a humidistat and a thermostat, since ventilation is needed to remove winter moisture as well as summer heat. Evidence of condensation such as blackened roof sheathing, frost on nail heads, etc. is an indication that ventilation may have been or is blocked or inadequate.

| INSULATION |  |
| --- | --- |

The recommended insulation in the attic area is R-38, approximately 12”. If insulation is added, it is important that the ventilation is proper.

| SMOKE DETECTORS |  |
| --- | --- |

Smoke detectors should be tested monthly. At least one detector should be on each level. CO detectors are not required by most states, but for safety reasons, are highly recommended.

| VAPOR BARRIERS |  |
| --- | --- |

The vapor barrier should be on the warm side of the surface. Most older homes were built without vapor barriers. If the vapor barrier is towards the cold side of the surface, it should be sliced or removed. Most vapor barriers in the attic are covered by insulation and therefore, not visible.

| SAFETY GLAZING |  |
| --- | --- |

Safety glazing requirements vary depending on the age of the home. Every attempt is made to identify areas where the lack of safety glazing presents an immediate safety hazard, such as a shower door. In some older homes it is difficult to determine if safety glazing is present, since the glass is not marked. Therefore, no representation is made that safety glazing exists in all appropriate areas.

| INSULATED GLASS |  |
| --- | --- |

Broken seal in thermopane/insulated windows are not always visible nor detectible due to humidity and temperature changes during the day. Other factors such as window covering, dirty windows, and lack of accessibility, personal property placed in front of the windows all effect the view of the windows at the time of the inspection.

REMARKS

| BASEMENT |  |
| --- | --- |

Any basement that has cracks or leaks is technically considered to have failed. Most block basements have step cracks in various areas. If little or no movement has occurred and the step cracks are uniform, this is considered acceptable. Horizontal cracks in the third or fourth block down indicate the block has moved due to outside pressure. They can be attributed to many factors such as improper grading, improperly functioning gutter and downspout system, etc. Normally if little or no movement has taken place and proper grading and downspouts exist, this is considered acceptable. If the wall containing the stress crack(s) has moved considerably, this will require some method of reinforcement. Basements that have been freshly painted or tuckpointed should be monitored for movement. This will be indicated by cracks reopening. If cracks reappear, reinforcement may be necessary. Reinforcing a basement wall can become expensive.

| FOUNDATION (COVERED WALLS) |  |
| --- | --- |

Although an effort has been made to note any major inflections or weaknesses, it is difficult at best to detect these areas when walls are finished off, or basement storage makes areas inaccessible. No representation is made as to the condition of these walls.

MONITOR indicates that the walls have stress cracks, but little movement has occurred. In our opinion, the cracks should be filled with mortar and the walls monitored for further movement and cracking. If additional movement or cracking occurs, reinforcement may be necessary.

HAVE EVALUATED We recommend that the walls be re-evaluated by a structural engineer or basement repair company and estimates be obtained if work is required.

| VAPOR BARRIER |  |
| --- | --- |

Floors that are dirt or gravel should be covered with a vapor barrier.

| MOISTURE PRESENT |  |
| --- | --- |

Basement dampness is frequently noted in houses and in most cases the stains, moisture or efflorescence present is a symptom denoting that a problem exists outside the home. Usual causes are improper downspout extensions or leaking gutters and/or low or improper grade (including concrete surfaces) at the perimeter of the house. A proper slope away from the house is one inch per foot for four to six feet.

Expensive solutions to basement dampness are frequently offered. It is possible to spend thousands of dollars on solutions such as pumping out water that has already entered or pumping of chemical preparations into the ground around the house, when all that may be necessary are a few common sense solutions at the exterior perimeter. However, this is not intended to be an exhaustive list of causes and solutions to the presence of moisture. No representation is made to future moisture that may appear.

| PALMER VALVE |  |
| --- | --- |

Many older homes have a valve in the floor drain. This drain needs to remain operational.

| DRAIN TILE |  |
| --- | --- |

We offer no opinion about the existence or condition of the drain tile, as it cannot be visibly inspected.

| BASEMENT ELECTRICAL OUTLETS |  |
| --- | --- |

We recommend that you have an outlet within 6' of each appliance. The appliance you plan to install may be different than what exists, therefore the inspection includes testing a representative number of receptacles that exist. It is also recommended to have ground fault circuit interrupts for any outlet in the unfinished part of the basement and crawl spaces.

REMARKS

| CRAWL SPACES |  |
| --- | --- |

Crawl spaces are shallow spaces between the first level floor joist and the ground. Access to this area may be from the inside, outside or not accessible at all. Ductwork, plumbing, and electrical may be installed in the space in which access may be necessary. The floor of the crawl space may be covered with concrete, gravel, or may be the original soil. A vapor barrier may be a sheet of plastic or tar paper and installed over or under this material. The vapor barrier will deter the moisture from the earth from escaping into the crawl space and causing a musty smell. Ventilation is also important to control excess moisture buildup. Vents may be located on the outside of the house and are normally kept open in the summer and closed for the winter (where freezing may occur).

The basement/crawl space diagram indicates areas that are covered and not part of a visual inspection. Every attempt is made to determine if paneling is warped, moisture stains are bleeding through, etc. Storage that blocks the visibility of a wall is not removed to examine that area. Therefore, it is important that on your walk-through before closing, you closely examine these areas.

Closed crawl spaces that have vents to the outside should have insulation under the floor above the crawl space.

| HAVE EVALUATED |  |
| --- | --- |

We recommend that the walls be re-evaluated by a structural engineer or basement repair company and estimates be obtained if work is required.

| MONITOR |  |
| --- | --- |

Indicates that the walls have stress cracks, but little movement has occurred. In our opinion, the cracks should be filled with mortar and the walls monitored for further movement and cracking. If additional movement or cracking occurs, reinforcement may be necessary.

REMARKS

| WELLS |  |
| --- | --- |

Examination of wells is not included in this visual inspection. It is recommended that you have well water checked for purity by the local health authorities and, if possible, a check on the flow of the well in periods of drought. A well pit should have a locked cover on it to prevent anyone from falling into the pit.

| SEPTIC SYSTEMS |  |
| --- | --- |

The check of septic systems is not included in our visual inspection. You should have the local health authorities or other qualified experts check the condition of the septic system.

In order for the septic system to be checked, the house must have been occupied within the last 30 days.

| WATER PIPES |  |
| --- | --- |

Galvanized water pipes rust from the inside out and may have to be replaced within 20 to 30 years. This is usually done in two stages: horizontal piping in the basement first, and vertical pipes throughout the house later as needed. Copper pipes usually have more life expectancy and may last as long as 60 years before needing to be replaced.

| HOSE BIBS |  |
| --- | --- |

During the winter months it is necessary to make sure the outside faucets are winterized. This can be done by means of a valve located in the basement. Leave the outside faucets open to allow any water standing in the pipes to drain, preventing them from freezing. Hose bibs cannot be tested when winterized.

| WATER HEATER |  |
| --- | --- |

The life expectancy of a water heater is 5-10 years. Water heaters generally need not be replaced unless they leak. It is a good maintenance practice to drain 5-10 gallons from the heater several times a year. Missing relief valves or improper extension present a safety hazard.

| WATER SOFTENERS |  |
| --- | --- |

During a visual inspection it is not possible to determine if water is being properly softened.

| PLUMBING |  |
| --- | --- |

The temperature/pressure valve should be tested several times a year by lifting the valve’s handle. Caution: very hot water will be discharged. If no water comes out, the valve is defective and must be replaced.

| SHUT-OFF VALVES |  |
| --- | --- |

Most shut-off valves have not been operated for long periods of time. We recommend operating each shut-off valve to: toilet bowl, water heater, under sinks, main shut-off, hose faucets, and all others. We recommend you have a plumber do this, as some of the valves may need to be repacked or replaced. Once the valves are in proper operating order, we recommend opening and closing these valves several times a year.

| POLYBUTYLENE PIPING |  |
| --- | --- |

This type of piping has a history of problems and should be examined by a licensed plumber and repaired or replaced as necessary.

MECHANICAL DEVICES MAY OPERATE AT ONE MOMENT AND LATER MALFUNCTION; THEREFORE, LIABILITY IS SPECIFICALLY LIMITED TO THOSE SITUATIONS WHERE IT CAN BE CONCLUSIVELY SHOWN THAT THE MECHANICAL DEVICE INSPECTED WAS INOPERABLE OR IN THE IMMEDIATE NEED OF REPAIR OR NOT PERFORMING THE FUNCTION FOR WHICH IS IT WAS INTENDED AT THE TIME OF INSPECTION.

| CSST |  |
| --- | --- |

Corrugated Stainless Steel Tubing is an alternative to traditional black iron gas piping. It is a continuous, flexible, stainless steel pipe with an exterior PVC covering.

REMARKS

HEATING AND AIR CONDITIONING units have limited lives.  Normal lives are:

GAS-FIRED HOT AIR…………………..15-25 years

OIL-FIRED HOT AIR…………………...	20-30 years

CAST IRON BOILER…………………...	30-50 years

(Hot water or steam)           	or more

STEEL BOILER…………………………	30-40 years

(Hot water or steam)           	or more

COPPER BOILER……………………….	10-20 years

(Hot water or steam)

CIRCULATING PUMP (Hot water)…….	10-15 years

AIR CONDITIONING COMPRESSOR…8-12 years

HEAT PUMP……………………………..8-12 years

Gas-fired hot air units that are close to or beyond their normal lives have the potential of becoming a source of

carbon monoxide in the home. You may want to have such a unit checked every year or so to assure yourself that it

is still intact. Of course a unit of such an age is a good candidate for replacement with one of the new, high

efficiency furnaces. The fuel savings alone can be very attractive.

Boilers and their systems may require annual attention. If you are not familiar with your system, have a heating

contractor come out in the fall to show you how to do the necessary thing Caution: do not add water to a hot boiler!

Forced air systems should have filters changed every 30 to 60 days of the heating and cooling season. This is

especially true if you have central air conditioning. A dirty air system can lead to premature failure of your

compressor - a $1,500 machine.

Oil-fired furnaces and boilers should be serviced by a professional each year. Most experts agree you will pay for

the service cost in fuel saved by having a properly tuned burner.

Read the instructions for maintaining the humidifier on your furnace. A malfunctioning humidifier can rust out a

furnace rather quickly. It is recommended that the humidifier be serviced at the same time as the furnace, and be

cleaned regularly. During a visual inspection it is not possible to determine if the humidifier is working.

Have HVAC technician examine - A condition was found that suggests a heating contractor should do a further

analysis. We suggest doing this before closing.

Heat exchangers cannot be examined nor their condition determined without being disassembled. Since this

is not possible during a visual, non-technically exhaustive inspection, you may want to obtain a service

contract on the unit or contact a furnace technician regarding a more thorough examination.

Testing pilot safety switch requires blowing out the pilot light. Checking safety limit controls requires

disconnecting blower motor or using other means beyond the scope of this inspection. If the furnace has not been

serviced in last 12 months you may want to have a furnace technician examine.

CO Test   This is not part of a non-technical inspection. If a test was performed, the type of tester is indicated on the Heating System page.

Combustible Gas Detector   If a gas detector was used during the inspection of the furnace and evidence of

possible combustible gases was noted, we caution you that our test instrument is sensitive to many gases and not a

foolproof test. None-the-less, this presents the possibility that a hazard exists and could indicate that the heat

exchanger is, or will soon be, defective.

REMARKS

Every effort has been made to evaluate the size of the service. Three wires going into the home indicate 240 volts. The total amperage can be difficult to determine. We highly recommend that ground fault circuit interrupters (G.F.C.I.) be connected to all outlets around water. This device automatically shuts the circuit off when it senses a current leak to ground. This device can be purchased in most hardware stores. G.F.C.I.’s are recommended by all outlets located near water, outside outlets, or garage outlets. Pool outlets should also be protected with a G.F.C.I.

See diagram below:

If you do have G.F.C.I.’s, it is recommended that you test (and reset) them monthly. When you push the test button, the reset button should pop out, shutting off the circuit. If it doesn’t, the breaker is not working properly. If you don’t test them once a month, the breakers have a tendency to stick and may not protect you when needed.

Knob and tube wiring found in older homes should be checked by an electrician to insure that the wire cover is in good condition. Under no circumstances should this wire be covered with insulation. Recess light fixtures should have a baffle around them so that they are not covered with insulation. The newer recessed fixtures will shut off if they overheat. (no representation is made as to proper recess lighting fixtures).

Federal Pacific Stab-Lok® Electrical panels may be unsafe. See www.google.com (Federal Pacific)

Aluminum wiring in general lighting circuits has a history of over heating, with the potential of a fire. If this

type of wiring exists, a licensed electrical contractor should examine the whole system.

| ARC FAULTS |  |
| --- | --- |

In some areas arc faults are required in new homes, starting in 2002 and these control outlets in the bedrooms.

| REVERSE POLARITY |  |
| --- | --- |

A common problem that surfaces in many homes is reverse polarity. This is a potentially hazardous situation in which the hot and neutral wires of a circuit are reversed at the outlet, thereby allowing the appliance to incorrectly be connected. This is an inexpensive item to correct.

Each receptacle has a brass and silver screw. The black wire should be wired to the brass screw and the white wire should go to the silver screw. When these wires are switched, this is called “reverse polarity.” Turning off the power and switching these wires will correct the problem.

Main service wiring for housing is typically 240 volts. The minimum capacity for newer homes is 100 amps though many older homes still have 60 amp service. Larger homes or all electric homes will likely have a 200 amp service.

Main service wiring may be protected by one or more circuit breakers or fuses. While most areas allow up to six main turnoffs, expanding from these panels is generally not allowed.

| COOLING |  |
| --- | --- |

Testing A/C System and Heat Pump- The circuit breakers to A/C should be on for a minimum of 24 hours and the outside temperature at least 60 degrees for the past 24 hours or an A/C system cannot be operated without possible damage to the compressor. Check the instructions in your A/C manual or on the outside compressor before starting up in the summer. Heat pump can only be tested in the mode it’s running in. Outside temperature should be at least 65° for the past 24 hours to run in cooling mode.

Temperature differential, between 14°-22°, is usually acceptable. If out of this range, have an HVAC contractor examine it. It is not always feasible to do a differential test due to high humidity, low outside temperature, etc.

COSTS OF REMODELING OR REPAIR

The prices quoted below include a range of prices based on a typical metropolitan area. Individual prices from contractors can vary substantially from these ranges. We advise that several bids be obtained on any work exceeding $500 dollars. DO NOT RELY ON THESE PRICES... GET FURTHER ESTIMATES.

ITEM 							UNIT 		        ESTIMATED PRICE

Masonry fireplace 					Each 			$4,000 - $8,000

Install prefab fireplace 					Each 			2,000 - 4,000

Insulate attic 						Square foot 		.75 - 1.25

Install attic ventilating fan 					Each 			200 - 300

Install new drywall over plaster 				Square foot 		1.75 - 2.75

Install new warm air furnace 				Each 			1,800 - 3,500

Replace central air conditioning/heat pump			Per ton 			1,000 – 1,500

Install humidifier 					Each 			300 - 500

Install electrostatic air cleaner 				Each 			800 - 1,500

Increase electrical service to 200 amps			Each 			1,000 – 1,500

Run separate elec. line for dryer 				Each 			125 - 200

Run separate elec. line for A/C 				Each 			135 - 200

Install hardwired smoke detector 				Each 			100 - 180

Install new disposal 					Each 			150 - 250

Install new dishwasher 					Each 			500 – 1,000

Install new hot water boiler 				Each 			2,000 - 4,000

Install new 30-50 gallon water heater			Each 			350 - 650

Install new 75 gallon water heater 				Each 			750 – 1,000

Dig and install new well 					Each 			get estimate

Install new septic system 					Each 			get estimate

Re-grade around exterior 					Each 			get estimate

Install new sump pump					Each 			150 - 300

Build new redwood or pressure- 				Square foot 		15 - 30

treated deck

Install storm windows 					Each 			60 - 150

Install wood replacement windows 				Each 			400 - 800

Install aluminum or vinyl 					Each 			150 - 400

replacement window

Install new gutters and downspouts 				Lineal foot 		4.00 – 8.00

Install asphalt shingle o/existing 				Square foot 		1.20 - 1.70

Tear off existing roof and install 				Square foot 		2.50 - 4.00

new asphalt shingle roof

Install 1-ply membrane rubberized roof 			Square foot 		get estimate

Install new 4-ply built-up tar & gravel 			Square foot 		get estimate

Remove asbestos from pipes in basement 			Lineal foot 		get estimate

Concrete drive or patio 					Square foot 		4.50 – 9.00

Plus removal of old 					Square foot 		1.50 - 3.00

Clean chimney flue 					Each 			100 - 200

Add flue liner for gas fuel 					Each			900 - 1,200

Add flue liner for oil or wood 				Each			2,800 - 3,500

Deferred Costs - It is impossible to determine how long these items will last before needing replacement. The report addresses most of these items from a “condition” standpoint.

PREVENTIVE MAINTENANCE TIPS

I.	FOUNDATION & MASONRY: Basements, Exterior Walls:  To prevent seepage and condensation problems.

a. Check basement for dampness & leakage after wet weather.

b. Check chimneys, deteriorated chimney caps, loose and missing mortar.

c. Maintain grading sloped away from foundation walls.

II. 	ROOFS & GUTTERS: To prevent roof leaks, condensation, seepage and decay problems.

a. Check for damaged, loose or missing shingles, blisters.

b. Clean gutters, leaders, strainers, window wells, drains.  Be sure downspouts direct water away from

foundation.  Cut back tree limbs.

c. Check flashings around roof stacks, vents, skylights, chimneys, as sources of leakage.  Check vents,

louvers and chimneys for birds nests, squirrels, insects.

d. Check fascias and soffits for paint flaking, leakage & decay.

III.	EXTERIOR WALLS: To prevent paint failure, decay and moisture penetration problems.

a. Check painted surface for paint flaking or paint failure. Cut back shrubs.

b. Check exterior masonry walls for cracks, looseness, missing or broken mortar.

IV.	DOORS AND WINDOWS: To prevent air and weather penetration problems.

a. Check caulking for decay around doors, windows, corner boards, joints. Recaulk and weatherstrip as

needed.  Check glazing, putty around windows.

V.	ELECTRICAL: For safe electrical performance, mark & label each circuit.

a. Trip circuit breakers every six months and ground fault circuit interrupters (G.F.C.I.) monthly.

b. Check condition of lamp cords, extension cords & plugs. Replace at first sign of wear & damage.

c. Check exposed wiring & cable for wear or damage.

d. If you experience slight tingling shock from handling or touching any appliance, disconnect the appliance

& have it repaired. If lights flicker or dim, or if appliances go on and off unnecessarily, call a licensed electrician.

VI.	PLUMBING: For preventive maintenance.

a. Drain exterior water lines, hose bibs, sprinklers, pool equipment in the fall.

b. Draw off sediment in water heaters monthly or per manufacturer’s instructions.

c. Have septic tank cleaned every 2 years.

VII.	HEATING & COOLING: For comfort, efficiency, energy conservation and safety.

a. Change or clean furnace filters, air condition filters, electronic filters as needed.

b. Clean and service humidifier. Check periodically and annually.

c. Have oil burning equipment serviced annually.

VIII.	INTERIOR: General house maintenance.

a. Check bathroom tile joints, tub grouting & caulking. Be sure all tile joints in bathrooms are kept well

sealed with tile grout to prevent damage to walls, floors & ceilings below.

b. Close crawl vents in winter and open in summer.

c. Check underside of roof for water stains, leaks, dampness & condensation, particularly in attics and

around chimneys.

IX. 	Know the location of:

• Main water shutoff valve.

• Main electrical disconnect or breaker.

• Main emergency shutoff switch for the heating system.